WATER SYSTEM RATES, RULES AND REGULATIONS

OF THE

SNAKE SPRING TOWNSHIP MUNICIPAL AUTHORITY

Bedford County, Pennsylvania

Updated and Effective January 1, 2023

TABLE OF CONTENTS

SECTION 1

SECTION 2

SECTION 3

SECTION 4

SECTION 5

SECTION 6

SECTION 7

SECTION 8

SECTION 9

SECTION 10

SECTION 11

SECTION 12

SECTION 13

SECTION 14

SECTION 15

SECTION 16

SECTION 17

SECTION 18

SECTION 19

SECTION 20

SECTION 21

DEFINITIONS	1

GENERAL PROVISIONS	6

REQUIRED CONNECTIONS	8

FAILURE TO CONNECT	9

CONDITIONS AND PROCEDURES FOR INITIAL SERVICE	10

RIGHT OF INSPECTION	13

SPECIFICATIONS AND STANDARDS FOR BUILDING SERVICE LINES14 EXTENSION OF WATER SYSTEM	19

MAINTENANCE AND REPAIR	21

UNLAWFUL USE OF WATER SYSTEM	23

CROSS CONNECTIONS	24

WATER SUPPLY	25

BILLING	26

LATE PAYMENTS	27

DISCONTINUANCE OF SERVICE	28

CHANGING RULES, REGULATIONS AND RATES	31

CHARGES PAYABLE UPON CONNECTION	32

MISCELLANEOUS CHARGES	36

SCHEDULE OF RATES AND CHARGES	38

REPEALER	40

WATER CONSERVATION CONTINGENCY PLAN	41

SECTION 1 DEFINITIONS

  - Unless the contract specifically indicates otherwise, the meaning of the terms used shall be as follows:

    - Application: Form upon which a prospective User signifies their desire for water service. To be complete, the form will be accompanied with the appropriate service charges and/or fees, a schedule for installation of required facilities, and registration of the contractor who is to perform the installation.

    - Authority: The Snake Spring Township Municipal Authority and its duly authorized representatives and employees.

    - Authority service line: The water line from the distribution facilities of the Authority which connects to the customer service line at the hypothetical or the actual property line, including the curb stop and curb box. The curb stop and curb box determine the terminal point for the Authority's responsibility or the street service connection.*

    - Bona Fide Service Applicant (For Line Extension Purposes): A person or entity applying for water service to an existing or proposed structure within the Authority's service area for which a valid occupancy or building permit has been issued if the structure is either a primary residence of the applicant or a place of business. An applicant shall not be deemed a bona fide service applicant if:

(d)a	applicant is requesting water service to a building lot, subdivision or a secondary residence;

(d)b	the request for service is part of a plant for the development of a residential dwelling or subdivision; or

(d)c	the applicant is requesting special utility service.

    - Building; Each single family dwelling unit, Multiple Dwelling Unit, Multi-use Unit, store, shop, office, business, institutional, commercial or industrial unit contained within any structure, erected and intended for continuous periodic habitation, occupancy or use by human beings or animals and for which structure, water may be used from the Authority's Water Distribution Mains.

    - Building Connection: Physical connection of the Authority's Water Distribution System and any related facilities when applicable.

# * Section 1.01C was amended on August 3, 2009.

    - Connection Charge: Shall mean the charge imposed by this Authority under Section 4B(h) of the Municipality Authorities Act of 1945, as amended, payable upon connection of a Building to the Water System.

    - Cross-Connection: Any pipe, valve, hose or other arrangement or device connecting the pipelines or facilities of the Authority, to and with other pipes or fixtures by which any contamination might be admitted or drawn into the distribution system of the Authority from lines other than the Authority's.

    - Customer: A person or entity who is an owner or occupant and who contracts with the Authority for water service.

    - Customer service line: The water line extending from the curb box and curb stop which is to be located at or near the property line or easement line of the water main to a point of consumption.*

    - E.D.U. (Equivalent Dwelling Unit): An amount of water equal to the amount usually and typically used in a single-family dwelling unit, in volume, as determined by the Authority.

    - Developer: Any person who desires to construct, at their own cost and expense, a water main or other extension to serve any one or more Buildings and to connect such system extension to the existing water system.

    - Engineer: A registered professional engineer retained by the Authority, including any authorized member of the staff of the engineer.

    - Inspector: The person or persons appointed by the Authority to inspect existing or proposed facilities water system (including both public, semi-public and private wastewater system), service lines, connections, all other connections between building conduits and the water mains meters, and building piping and fixtures.

0.   Line extension: An addition to the Authority's main line which is necessary to serve the premises of a customer.

- Main: The pipe of a public utility system, excluding service connections, located in a public highway, street, alley or private right-of-way which pipe is used in transporting water.

- May: Is permissive.

* Section 1.01J* was amended on August 3, 2009.

- Multiple Dwelling Unit: A building with individual apartments, a mobile home park with individual units, multi-family or multi-unit, and multi-family dwelling projects. Does not include motels or hotels which contract for occupancy terms of less than one month.

- Multiple Use Unit: A combination of a single family dwelling unit, store, shop, office, business, institutional, commercial or industrial unit contained within any structure or any Building determined by the Authority to have more than one use.

- Meter: That part of the Water System which registers and records the consumption of water.

- Nonresidential service: Water service supplied to a commercial or industrial facility, including a hotel or motel, or to a master-metered mobile home or multi-tenant apartment building, or to any customer who purchases water from the Authority for the purpose of resale.

- Owner: Any Person vested with ownership, legal or equitable, sole or partial, of real estate serviced by the Water System, as recorded at the Recorder of Deeds office, Bedford County, Pennsylvania.

- Person: An individual, firm, company, association, society, corporation or other group or entity.

- Private fire protection service: Water service provided exclusively for the purpose of fire protection that is available to the customer only and not for use by the general public, and that is provided through automatic sprinkler systems, fire hydrants or similar mechanisms. Maintenance of private fire hydrants shall be the responsibility of the customer who shall bear the total costs of maintenance and repair.*

X.A	Y.  Public fire protection service: Water service provided exclusively to a municipal or governmental entity through outdoor hydrants for the purpose of fire protection for the general public.

- Residential service: Water service supplied to an individual single-family residential dwelling unit or to Multiple Dwelling Units and to Multiple Use Units.*

- Service Charges: The connection fee, customer facilities fee, and tapping fee imposed by the Authority under Act 57 of 2003, as amended, payable upon Connection of a Building or property to the Water System.

# * Sections 1.01X and 1.012 were amended on August 3, 2009.

- Shall: Is mandatory.

- Short-term Supply Shortage: An emergency which causes the total water supply of Authority to be inadequate to meet maximum system demand.

- Special Utility Service: Residential or business service which exceeds that required for ordinary residential purposes.

- Tenant: Any building occupant other than the Owner who utilized the service of the Water System.

- Township: Snake Spring Township, Bedford County, Pennsylvania

- User: The party, whether Owner, tenant, agent or representative of the Owner, receiving water service by the Authority for one or more families or a business or institutional unit on one property owned or tenanted by the party or parties.

  - Residential User - All premises used only for human residency and which is connected to the Water System.

  - Commercial User - Any property occupied by a non-residential establishment not within the definition of an "industrial User" and is connected to the Water System.

  - Industrial User - Any non-residential User identified in Division A, B, C, D, E, or I of the Standard Industrial Classification Manual and is connected to the water system.

- Water Main: Any pipe or conduit that carries water and is owned and operated by the Authority.

II.	Water System: The pipe, fittings and appurtenances owned and operated by the Authority, including Water Mains, Meters and defined portions of the Service Line for the purpose of supplying water to the Authority's customers.

  - Other Terms: Unless the context specifically indicates otherwise, the meaning of terms not defined in the AGlossary - Water and Wastewater Control Engineering@ prepared by a joint editorial board representing the American Public Health Association, the American Society of Civil Engineers, the American Water Works Association, and the Water Environment Federation.

SECTION 2 GENERAL PROVISIONS

  - The purpose of these Rules and Regulations is to govern for the public use of the Authority's Water System through regulation of water connection and water use; to provide for the distribution of the costs for the Authority's Water System; and to provide procedures for complying with the requirements contained herein.

  - The definitions of terms used in these Rules and Regulations are found in Section 1 above. The provisions of these Rules and Regulations shall apply to the use all water from any facilities of the Authority. These Rules and Regulations provide for use of the Authority's Water System, regulation of Water System construction, control of the quantity of water used, distribution of costs, assurance that existing customers' capacity will not be preempted, approval of water construction plans, issuance of water connection permits, minimum water connection standards and conditions, and penalties and other procedures in cases of violation of these Rules and Regulations.

  - These Rules and Regulations shall apply to all Users of the Water System.

  - Except as otherwise provided herein, the Authority shall promulgate, administer, implement, and enforce the provisions of these Rules and Regulations.

  - Any Person found in violation of these Rules and Regulations or any requirement of a permit issued hereunder, may be served with a written notice stating the nature of the violation and providing a time limit for compliance. Any such notice given shall be in writing and served in person or by registered or certified mail. The notice shall be sent to the last address of the User known to the Authority. Where the address is unknown, the notice may be made upon the Owner of record of the property involved. If satisfactory action is not taken in the time allotted by the notice, violation penalties of these Rules and Regulations shall be implemented. The Owner of Record is ultimately liable.

  - Any Person who continues to violate the provisions of these Rules and Regulations beyond the time limit provided for, may be charged with commission of a misdemeanor and upon conviction thereof, shall be fined not more than the maximum amount permitted by the Snake Spring Township Water Hook-Up Ordinance (or other applicable law) for each day the violation continues, or may be subject to disconnection from the Authority's Water System. The Authority also may file a Municipal Lien as provided by law for any delinquent payments due to the Authority.*

  - Each day or portion thereof a violation continues shall constitute a separate violation.

# * Section 2.06 was amended on August 3, 2009.

  - All fees, and charges payable under the provisions of these Rules and Regulations shall be paid to the Authority. Such fees and charges shall be as set forth herein.2.09 All fees, penalties and charges collected under these Rules and Regulations shall be used for the sole purpose of constructing, operating or maintaining the general account of the Authority, or the retirement of debt incurred for same.

  - All fees and charges payable under the provisions of these Rules and Regulations are due and payable immediately upon the receipt of notice thereof from the Authority, unless otherwise provided in such notice.	Unpaid charges shall become delinquent and shall be subject to penalty and interest charges as set forth herein.

  - The Authority shall be permitted to enter on to the properties including any dwellings of any User at any reasonable time for the purposes of inspection, observation, measurement and sampling of the water supply to ensure that the usage of the Authority's Water System is in accordance with the provisions of these Rules and Regulations.

  - No agent or employee of the Authority or the Township shall have the right or authority to bind the Authority by any promise, agreement or representation contrary to the letter of intent of these Rules and Regulations.

  - No person shall maliciously, willfully or negligently misuse, overload, block, break, damage, destroy, uncover, deface or tamper with any structure, appurtenance or equipment which is a part of the Authority's Water System. Any person who violates this section shall be referred for prosecution of applicable fines and penalties. Any damage to portions of the Authority's Water System, including service lines, must be immediately reported to the Authority and repairs made under the direction of Authority personnel. In addition to any penalty hereinabove prescribed, any person violating any of the provisions of these rules and regulations shall, upon conviction thereof before a District Justice be fined no more than Three Hundred ($300.00) Dollars and/or in default of payment thereof, be sentenced to undergo an imprisonment of not more than thirty (30) days in the County Jail.*

  - A finding by any court or other jurisdiction that any part or provision of these Rules and Regulations is invalid shall not affect the validity of any other part of provision of these Rules and Regulations which can be given effect without the invalid parts or provisions.

# * Section 2.13 was amended on August 3, 2009.

SECTION 3 REQUIRED CONNECTIONS

  - No Owner of a Building shall be required to connect such Building to the Water System if the Authority determines that the water supply available from the Authority is insufficient in pressure or quantity to serve the Building.

  - Subject to the above, each Owner of a Building, within the Township, located on property abutting any street, alley, or right-of-way in which a Water Main has been provided by the Authority and where any part of the inhabited structure is within one hundred fifty (150) feet of Water Main, at his own expenses shall connect Building to the water system in accordance with these rules and regulations within ninety (90) days after the date of official written notice to do so from the Authority, unless otherwise approved in writing by the Authority.

SECTION 4 FAILURE TO CONNECT

  - In the event any Owner refuses or neglects to connect within the ninety (90) day period, he shall be deemed to be in violation of the Authority's Rules and Regulations and Township Ordinances. Upon proper notice, the Authority may enter upon property and construct the connection. In such case the Authority shall, upon completion of the work, send an itemized bill of the cost of the construction of connection to Owner containing an administrative fee of as set forth in the current Schedule of Fees and Charges. In case of neglect or refusal by Owner to pay such bill within thirty (30) days, the Authority may file a municipal lien. No Owner of a Building shall connect any Building to the Water System if the Authority determines in its discretion that the then available Water System capacity is insufficient to serve the Building.*

  - Any Person who fails to make a proper connection to the Water System within the time specified after receipt of proper notice or after shall be referred to the Municipal Government for the imposition of appropriate fines or penalties.

  - The Authority may commence the imposition of rates and charges applicable to the Water System against any Person who fails to make proper connection thereto, in consideration of the availability of service, at any time after 60 days from the date of notice to connect and may file and enforce a municipal lien to collect such rates and charges. This will not release the Person from connecting to the Water System.

# * Section 4.01 was amended on August 3, 2009 and on December 12, 2022.

SECTION 5 CONDITIONS AND PROCEDURES FOR INITIAL SERVICE

  - No person shall make or cause to be made any connection with the Water System until they have fulfilled all of the following conditions and procedures:

    - A person desiring to connect a building to the Water System must first make a written application for a permit on the form furnished by the Authority, at least two

(2) weeks before the connection is to be made, stating the building address, the name of the Owner and the User, the purpose for which service will be used and the size and configuration of service line, connection and meter required. No work of any nature shall commence before the issuance of the connection permit by the Authority.

    - The application for connection permit must be signed by the Owner of the Building or his duly authorized agent. The terms of the connection permit, together with the Rules and Regulations of the Authority, shall regulate and control the provision of water service to the Building.

    - The application for connection permit must be accompanied by the required Connection Charge, Tapping Fee and any other fees or charges established by the Authority which are payable prior to the time of connection. The application also must be accompanied by a required non-refundable application fee as set forth in the current Schedule of Fees and Charges. The excavator's name and phone number must be provided along with a current copy of their liability insurance.*

    - The application for connection permit must contain indication of the date when the connection will be ready for inspection and the Building service line will be constructed. Due to weather conditions, connections are generally made only between March 15 and November 15.

    - The Owner will be granted a connection permit only upon meeting the Authority's application and permitting procedure.

    - The Authority will notify the Owner at the time connection permit is issued as to the location and configuration of the service line installed by the Authority.

# * Section 5.01C was amended on August 3, 2009 and on December 12, 2022.

  - When an application has been made for a new service connection or for reinstatement or change in an existing service, it is assumed that all plumbing, piping, and fixtures which will be serviced are in proper order to receive the service; and the Authority shall not be liable for any accident, breaks or leakage arising in any way in connection with the supply of water or failure to supply water, or the freezing of pipes or fixtures, nor for any damage to the building which may result from the usage or nonusage of water service provided to such Building.

  - The owner shall notify the Inspector, at least forty-eight (48) hours prior to the time when the Building Connection will be made, in order that the Inspector can be present to inspect and approve the work of connection. The Owner shall be responsible for an inspection fee per connection as set forth in the current Schedule of Fees and Charges, payable in advance to the Authority, and any subsequent inspection also shall cost an inspection fee as set forth in the current Schedule of Fees and Charges. The Owner shall not backfill over any service piping until the Inspector has given his approval. Also, the Owner shall not open any valves on the Authority's service line until the Inspector has given his approval.*

  - At the time of inspection of the building connection, and prior thereto in accordance with applicable easements, the Owner shall permit the Inspector full and complete access to all pipes and other appurtenances in each Building and about all parts of the property. No portion of the Building Service Line shall be covered over, or in any manner concealed, until after it is satisfactorily inspected and approved by Inspector by a written notation on the connection permit.**

  - The Inspector shall signify his approval of the Building Service by endorsing his name and the date of approval on the connection permit.

  - Notwithstanding any other provisions to the contrary, the Authority shall at all times reserve the right to withhold the issuance of any permit for connection to the water system unless the applicant provides collateral or security as the Authority in its sole and absolute discretion deems adequate in the event the Owner or any successor fails to complete the proper construction.

  - The Authority will not permit connection to the Water System unless adequate capacity and pressure is available to serve the property. In accordance with state recommendations, no service will be granted in situations where water pressure cannot be maintained above 25 psi.

# * Section 5.03 was amended on August 3, 2009 and on December 12, 2022.

** Section 5.04 was amended on September 10, 2007 and on February 7, 2011.

  - No water Service Line shall be laid in the same trench with a sewer or gas pipe or with any facility of a public service company, or within three feet of any excavation or vault; without written approval of the Authority.

  - The Owner will provide, free of charge and expense to the Authority, a location for installation of a Meter Pit. Generally, this location is to be a readily accessible spot near the property line, close to the entrance of the Service Line. This will particularly apply to house trailers and mobile homes. The pit shall be an approved prefabricated meter box. It is to have suitable iron cover designed to prevent freezing. Installation will generally be by the Owner, and at the expense of the Owner. The Owner shall install the pit, with written approval of the location from the Authority, providing the pit size and dimensions are approved by the Authority, that it gives adequate access to the Meter, and permits its installation or removal. Pits are available for purchase from the Authority.

  - In cases where it is not practical to place the Meter within a Pit, the Meter may be located within the building, with the Authority's written permission. The Owner will also provide an exterior location for the remote readout portion of the Meter, if required.

  - In cases where the meter is installed within the building, the Owner shall install isolation ball valves on both sides of the Meter and a dual check backflow preventer on the outlet side of the Meter. An expansion and safety valve shall be inserted at a convenient point on the Building piping to relieve excess pressure which could occur from the heating of water. The Owner shall comply with all applicable building codes.*

  - Pre-fabricated pits shall be provided with the isolation valves and dual check backflow preventer installed. An air tank and safety valve shall be inserted at a convenient point on the Building piping to relieve excess pressure which could occur from the heating of water.

# *Section 5.11 was amended on August 3, 2009.

SECTION 6 RIGHT OF INSPECTION

  - The Authority and its duly authorized representatives and employees, bearing proper credentials and identification, shall be permitted to enter upon all property for the purpose of inspection, observation, testing and retesting of the Meter, Service Line, and Connection, at all reasonable hours.

  - The Authority and its duly authorized representatives and employees, bearing proper credentials and identification, shall be permitted to enter upon all property at all reasonable hours; for the purpose of conducting surveys and investigations of water use practices to determine whether there are actual or potential cross connections through which contaminants could backflow to the Water System.

SECTION 7 SPECIFICATIONS AND STANDARDS FOR BUILDING SERVICE LINES

  - A separate Meter and Connection will be required for each Building. A single connection may be permitted to serve a school, factory, other permanent Multiple Dwelling Unit or Multiple Use unit structure whose individual units may not be subject to separate ownership, at the discretion of the Authority. The Authority, in its sole discretion, may permit multiple structures to be served by one connection only upon satisfactory proof from the Owner of the following: (1) the structures are under common use and ownership,

(2) there is no reasonable likelihood that the structures will ever be severed from common use and ownership by sale, lease or otherwise, (3) there would be an undue hardship on the Owner, and (4) the method and type of connection shall be approved by the Authority's Engineer. An example of such a situation may be an Owner desiring water service for a detached garage on the same lot as the Owner's residence. If an exception is granted by the Authority, the Authority reserves the right to withdraw the exception in the event circumstances change so that the criteria set forth above is no longer met.

  - No repairs, alterations or additions to any Service Line or Connection shall be made unless the Owner desiring to make them first makes application to and receives permission from the Authority.

  - No User shall be allowed to permit any other Persons or Building to use or connect with his connection or connect with his service line, piping or fixtures.

  - The minimum size Service Line and connection for any Building shall be three quarters(:) inch diameter pipe where the distance from the Water Main to the Building is not more than one hundred (100) feet. Where the distance from the Water Main to the Building is greater than one hundred (100) feet but less than four hundred (400) feet, the minimum size Service Line and Connection shall be one (1) inch diameter pipe. The size of the Connection for Large Customers, fire protection systems, and Buildings more than four hundred (400) feet from the water main shall be considered on an individual basis by the Authority.

  - No Service Line shall be installed which passes through property of persons other than the Owner of the Building to be served, unless the Owner of the Building to be served obtains a right-of-way from the Person through whose property it will pass. The right-of­ way shall be recorded with the County Recorder of Deeds. The Owner of the Building to be served shall be responsible for maintenance of the Service Line.

  - When an Owner desires water service to a Building which does not have an existing Water Main or does not have an existing Water Main of adequate capacity in the roadway abutting the building, such Owner shall be required to extend or replace the Water Main at his sole cost. Size of the Water Main and length that Water Main will have to be

extended shall be determined by the Engineer. The extension will require the written permission of the Authority, and, if appropriate, the receipt of proper applicable permits in the name of the Authority obtained at the sole cost of the Owner.

  - No water service line shall be placed by any Person in the same trench with a water or gas pipe or with any facility of a public service company or municipality, or within three feet of any excavation or vault, unless permitted by the Authority.

  - All excavation shall be guarded with barricades to protect the public from hazard.

  - All work must comply with the General Specifications on file with the Snake Spring Township Municipal Authority.

7.1O		All Service Line and Connection pipe shall be placed on a minimum three (3) inch sand bed all around the pipe. Where rock is encountered on the trench bottom, overexcavate six inches and backfill with sand. All pipe shall have at least forty eight (48) inches of cover mechanically tamped in layers not to exceed twelve (12) inches. All pipe is to be laid in a straight grade avoiding summits and depressions which could collect air and sediment.  The pipe is to be Asnaked@ in the trench to allow at least an additional three

(3) inches per one hundred (100) feet of length for thermal expansion and contraction of the pipe.

  - All connections to the Water Main of less than, or equal to, two (2) inches in diameter shall utilize a corporation stop. All connections to polyvinyl chloride (PVC) Water Main of any size, and ductile iron pipe of less than six (6) inches in diameter, shall also utilize a saddle. The saddle shall be a Ford Style 202BS Double Band Saddle.

  - Corporation Stops for connections less than two (2) inches in diameter shall be as follows:

    - Compression connection outlet for copper service tubing:

      - :" size: Ford FB 1000-3, or equal

      - 1" size: Ford FB 1000-4, or equal

      - 12@ size: Ford FB 1000-6, or equal

      - 2" size: Ford FB 1000-7, or equal

    - Thread dimensions: AWWA C-800

    - Inlet thread: AWWA taper thread

7.13	All Service Lines less than, or equal to, 2 inches in diameter shall be equipped with a curb stop and box; located at the property line and with the top mounted flush with the ground

surface. A meter pit shall be installed by the Owner within close proximity to the curb stop and box. The meter pit shall be in accordance with the General Specifications of the Authority. Meter Pits are available for purchase from the Authority. Meters shall be the Sensus Technologies SCR II ECR and must be purchased from the Authority. Installation of the meter and associated radio read transceiver unit will be performed by Authority personnel upon satisfactory installation of the meter pit by the Owner.

  - Curb Stops for connections less than, or equal to, two (2) inches in diameter shall be as follows:

- Compression connection outlet for copper service tubing:

  - :" size: Ford B44-333 ball curb stop, or equal.

  - 1" size: Ford B44-444 ball curb stop, or equal.

  - 12" size: Ford B44-666 ball curb stop, or equal.

4	2" size: Ford B44-777 ball curb stop, or equal.

- Without drain.

- With check.

  - Curb Boxes and Covers for service connections shall be as follows:

    - Cast Iron body or Buffalo Type.

    - Arch Pattern Base.

    - 2-1/2" Diameter Upper Section.

    - Lid with inscription AWater@, with Pentagon Plug.

    - Similar to 6500 Series, Screw Type, Tyler Pipe Utilities Division, or approved equal.

  - All Service Lines and Connections (3/4" to 2") shall be either polyethylene or flex pipe at the Authority's discretion with compression connections from the main to the curb stop. Service lines from the curb stop to the building may be either type K seamless flexible copper or Polyethylene Flexible Pipe (3/4" to 2"), 200 psi, copper tube sizes (CTS), ASTM D-2737, SDR-9 in accordance with AWWA C-901, and NSF approved for potable water use.*

# * Section 7.16 was amended on August 3, 2009.

  - All connections to Water Mains shall be made at curb line, right-of-way or easement unless specifically authorized by the Authority. Where no Water Connection has previously been constructed, the connection to the water main and the construction of the service line from the Water main to the curb line shall be made by the Authority unless other specific authorization is given by the Authority.

  - All construction, reconstruction, and alterations of Water Connections and appurtenances shall be performed in a competent workmanlike manner in accordance with recognized standards of the plumbing trade and the specifications currently on file with the Authority. The Authority shall stop or require reconstruction of any work not forming to these standards or specifications.

  - All Service Lines and Connection pipe and appurtenances may be subject to a hydrostatic pressure test of 150 psi for fifteen (15) minutes with no appreciable water leakage (less than one (1) fluid ounce per one hundred (100) feet of pipe) at the sole cost of the Owner.

  - Consumers using water for fire protection systems, steam generation or heating systems are warned not to depend upon the hydraulic or hydrostatic pressure of the water system. Steam and hot water heating plants and hot water generators and storage tanks shall in all cases be provided with a check valve in the water supply piping and other proper devices to prevent damage or collapse if the water supply should be shut off or fail for any reason. The Authority in no case will be responsible for accident or damage resulting from the imperfect installation or action of check valves or other devices or from the omission of such installation.

  - The Authority does not assume any liability as insurer of property or person and a consumer receiving fire service, pressure, capacity of facility other than that available at the time in view of the circumstances of the Authority at that time. The Authority shall not be liable for any damage or injury to any person or property by reason of any fire, failure to supply water, or pressure or capacity or lack thereof due to any cause beyond the reasonable control of the Authority.

    - Private Authority Fire Service: Where private fire protection service connections are to be made to the Authority's system, the Authority shall have the right to approve the plans for such installation prior to approval of the application for service. The Authority shall make any connection to the distribution system that is required, and the customer shall pay to the Authority the actual cost for making such connection.

The Authority shall have the right to require a compound-type meter for installation in the private fire line if deemed necessary. Waiver of the requirement for installation of a separate meter at the time the connection is made shall not prohibit the Authority from requiring a meter installation at a future date if such installation

is warranted in the opinion of the Authority. A double backflow prevention device, approved by the Authority, must also be installed on the line at the sole cost of the Owner.

Any meter required will be supplied by the Authority, with the cost for the meter, together with labor and materials for installation, to be borne by the customer.

Where a private fire connection is approved by the Authority, no other connection for domestic, commercial or industrial use shall be made to the fire connection line unless a compound type meter is installed between the Authority's line and the connection for such line. The compound meter shall be the Sensus Fireline meter and it shall be installed in a concrete vault, approved by the Authority, at an acceptable location near the connection to the Authority system.

    - Public Fire Protection: Where public fire protection is offered, service will be available when hydrants are installed and when the municipal entity for which the service will be provided makes application to the Authority for that service.

    - Installation of Fire Hydrants: The Authority shall approve the installation of any fire hydrants. All fire hydrants shall be located by the Authority with due consideration given to local fire fighting authorities and to requirements of insurance underwriters. Developers, private fire protection customers and municipal entities shall be responsible for all costs of purchase and installation of fire hydrants in the same manner as installation of water main extensions. The hydrants will be installed by the Authority and shall be the property of the Authority.

    - Use of Fire Hydrants: All persons are forbidden to open any fire hydrant or to use any water therefrom for sprinkling streets, for construction or for any purpose, without permission in writing from the Authority, except in case of fire and by fire companies to test hydrants. Such tests shall be made directly under the supervision of an authorized agent of the Authority.

The Authority reserves the right to meter any fire line when evidence indicates that water is being taken from the line for purposes other than fire fighting or as otherwise permitted by agreement, and such metered service shall then be billed in accordance with the regular schedule of metered rates, with proper allowance for water consumed in fire fighting or other authorized use.

SECTION 8 EXTENSION OF WATER SYSTEM

  - Any Developer shall comply with the provisions of this section.

  - A request for service which would require the Authority to operate and maintain additional pumping and storage facilities (which would be an additional operation and maintenance cost for the Authority) will be discouraged. In accordance with state recommendations, no service will be granted in situations where water pressure cannot be maintained above 25 psi.

  - The Developer shall secure appropriate planning approval from the Department of Environmental Protection for the proposed project in accordance with Act 537. Upon request, the Authority will supply letters stating the availability of water and Water service. The Developer is cautioned that approvals are required from agencies other than the Authority.

  - The Developer shall submit three (3) copies of plans for any proposed extension of the Water System to the Authority for review comments, recommendations and approval on 24" x 36" sheets showing plan views to a scale of not less than 1" = 50' and profiles to a scale of not less than 1" = 5' vertically and 1" = 50' horizontally, a north point, a suitable title block date and the name of the Developers' Engineer and imprint of his registration seal and signature. The Developer shall be responsible for reimbursing the Authority for any Engineering Review fees of the plans incurred as a result of the proposed extension.*

  - Prior to final acceptance of any Water System extension by the Authority, the Developer shall furnish to the Authority "Record Drawings" showing the location of all Water Mains, valves and curb boxes relative to permanent landmarks such as buildings, trees, utility poles or property corners.

  - Easements for Water Mains constructed outside of dedicated street rights-of-way shall be recorded in the name of the Authority. Permanent easements shall be twenty (20) feet wide with vehicle access from street for maintenance purposes. It is recommended that a temporary construction easement five (5) feet wide on each side of the permanent easement be obtained to accommodate modern construction equipment. Highway Occupancy permits for Water Mains constructed within dedicated street rights-of-way shall be obtained in the name of the Authority.

  - All materials and construction shall comply with the General Specifications on file with the Authority.

# * Section 8.04 was amended on August 3, 2009.

  - Construction of water facilities extensions will not be permitted until proper Municipal approvals, Commonwealth permits and easements (if necessary) have been obtained in the name of the Authority by and at the sole cost and expense of the Developer. The Developer must also submit three (3) copies of Shop Drawings for Authority review and approval prior to initiating construction. A copy of approved shop drawings shall be kept on site at all times. No materials shall be installed without prior shop drawing approval.

  - Depending on the layout of existing water distribution system and/or potential for future development beyond the area in question, the required size of a Water Main extension could vary, based upon Engineer review and recommendations.

  - The Water Mains and all appurtenances shall be subject to full time inspection by the Authority's representative at the sole cost of the Developer. If the installation of the Water Mains or appurtenances has been properly made, written approval will be furnished to the Developer or his designated representative. If the work is not satisfactory, the Authority's representative shall advise what must be done to meet the Authority's requirements.

  - No Water Main extension constructed by a Developer will be approved for use and service by the Authority until the Water Main is formally approved in writing, by the Authority, all connections, charges, tapping fees and inspection fees have been paid, the Water Main extension has been legally dedicated to the Authority and as-built drawings have been submitted to the Authority and approved.

  - The Developer shall be responsible for all necessary repairs to the extension for a one­ year period from the date of formal approval by the Authority.

  - Any extensions of the Water System or connections to any Building not located in the Township shall not be made until the Owner of such Building shall obtain written consent of the host Municipality and the Authority.

  - All proposed developments shall include provision for fire protection. The maximum distance from any portion of a building in the development to a fire hydrant shall be 600 feet.

  - No Water Mains smaller than four (4) inches in diameter shall be used. No Water Mains smaller than eight(8) inches diameter shall provide flow to a fire hydrant. Dead ends are to be avoided. Any dead ends which are absolutely necessary, shall be equipped with a blowoff.

SECTION 9 MAINTENANCE AND REPAIR

  - The Authority shall retain ownership of and have the ultimate responsibility for the use, operation, maintenance, and repair of the Water System from the source of supply up to and including the curb stop at the property line or easement line of each user. The owners of any Building connected to the Water System shall notify the Authority of any condition on his property which threatens the proper operation and integrity of the Water System.*

  - The Service Line from the curb stop to the Building and the Building piping and fixtures shall be the responsibility of the Owner and shall be maintained and repaired by the Owner at his own cost. Any repairs of the service line shall be subject to the direction, approval, and inspection of the Authority.*

  - The Authority reserves the right at anytime to excavate or allow the excavation of any Water System component.

  - The Authority shall in no event be responsible for the maintenance of, or any damage resulting from water escaping from the service line or any other pipe or fixture downstream of the meter pit.

  - The Authority reserves the sole right to turn the curb stop on or off. Should repairs to the service line or other piping and fixtures be required, a plumber shall obtain written approval from the Authority to operate the curb stop to facilitate repairs.

  - The Authority reserves the sole right to remove a Meter from its setting. Should it be necessary to remove a Meter from its setting, notice shall immediately be given to the Authority.

  - The Owner shall keep the service Line from the curb stop to the building in good condition at all times; under penalty of discontinuance of service by the Authority upon forty-eight

(48) hours notice. However, should serious leak on the Owner's property threaten the Authority's supply, the Authority reserves the right to discontinue service without notice until such time as the condition is corrected; or take action necessary to correct the situation.

  - In the case of leaks of undetermined location, the Authority will, upon request of the Owner, excavate in and about the curb stop for the purpose of determining the responsibility for leaks. The Authority shall assume the cost of work if it is found that the leak is located between the curb stop and main. If the leak is determined to be between

# * Sections 9.01 and 9.02 were amended on August 3, 2009

the curb stop and building, the Owner shall reimburse the Authority for the actual costs of the work required to determine responsibility.*

  - The Authority may at any time require the Owner to install in connection with his service pipes, such valves, pressure regulators, tanks or other apparatus as may be, in the opinion of the Authority, required for the safeguarding and protection of the Authority's property or water supply.

  - All Meters are the property of the Authority and will be maintained and repaired by the Authority. The Authority will assume the cost associated with ordinary wear and tear. However, should damage to the Meter occur due to freezing, not water, carelessness, or negligence, the repairs shall be at the expense of the Owner.

  - The Owner shall notify the Authority of any damage to or any cessation in registration of the Meter, as it comes to his knowledge or the knowledge of any user of his Connection.

  - No seal placed by the Authority shall be tampered with or defaced. It shall not be broken except upon authorization from the Authority. Where the seal is broken, the Authority reserves the right to remove the Meter for test at the expense of the Owner. It is a violation of Clause 6, Section 34, Act of 1974 of the Laws of Pennsylvania to break or deface the seal of, or otherwise damage the Meter.

  - When it is necessary to renew an existing Connection, the Authority will renew the connection at no cost to Owner. This renewal is limited to items from the main to the curb stop; using pipe of the same size and in the same location as the old one. If the Owner, for his own convenience, desires the new Service Line at some other location, he will be responsible for payment of all expenses. These include the cost of shutting off the old Service Line at the main, a new corporation stop and saddle, and additional pipe, excavation and resurfacing.

  - When the Owner desires a change in location or size of an existing service line, the cost of the change shall be borne by the Owner.

# * Section 9.08 was amended on August 3, 2009.

SECTION 10 UNLAWFUL USE OF WATER SYSTEM

  - No Person shall connect, cause to be connected, or allow any other Person to connect to the Water System any Building or other source of water other than that for which the connection permit is or has been issued.

  - No person shall make, or cause to be made, any cross connection between any pipe, fixture, or other appurtenance connected in any way to the Water System and any public or private component of any potable water system or source whereby, in the opinion of the Authority, the potential exists for vacuums or back siphonage which could permit sanitary wastes to enter a potable water system or source.

  - No person shall open a fire hydrant or use any water from a hydrant for recreation, sprinkling streets, construction, filling of swimming pools, or any other purpose without a permit from the Authority, under the penalty prescribed by law. Use of fire hydrants by qualified fire company personnel is authorized in case of fire. Fire companies are also authorized to test the hydrants, if supervised by an authorized agent of the Authority.

  - No person shall interfere with any fire hydrant. No person shall place any material of any description within eight (8) feet of any fire hydrant or over a valve box; without written permission of the Authority.

  - No outlet shall be permitted on the connection or service pipe supplying a Building, between the water main and the Meter. Excepting facilities of the Authority, no unmetered Connections are allowed for fire protection systems. All water used must pass through the Meter.

SECTION 11 CROSS CONNECTIONS

  - Cross connections represent a serious health hazard; and are subject to government regulation. No connection shall be made between pipes or containers carrying water supplied by the Authority and pipes or containers carrying water from any other source.

  - It shall be the responsibility of the Owner to conduct periodic surveys of water use practices on his premises to determine whether there are actual or potential cross connections through which contaminants or pollutants could backflow into the Water System.

  - There can be no cross-connection between water from the public water system and a freshwater well (hereinafter "well") or any other source. Any property required to be connected to the public water system that has a well on the effective date of this Ordinance shall be permitted to use water from that well for the limited purpose of watering lawns, gardens, filling swimming pools or emergency fire suppression. The Authority and/or authorized representatives of the Authority shall have the right to enter upon any property after lateral connection to the public water system has been made to inspect for the existence of a prohibitive interconnection between the public water system and the well.

For purposes of this paragraph, no well water piping shall in any way enter an occupied property (only electric lines for said pump). All well equipment, i.e. well pressure tank, pumps, etc. shall be outside an occupied structure. The right to use water from a well for purposes set forth in this Section shall not be abridged by any other rule or regulation of the Authority. There can be no cross-connection between water from the public water system and a well or any other source. Any property required to be connected to the public water system that has a well on said property on the effective date of this resolution shall be permitted to use water from said existing well for the limited purpose of watering lawns, gardens, filling swimming pools and supplying water for emergency fire suppression when public water is not available. If an owner wishes to use an existing well for these limited purposes, said owner shall be required to submit an application for said well usage to the Authority and pay an application fee as set forth in the current Schedule of Fees and Charges. The application shall require a detailed schematic drawing of the well system design. Additional requirements of the use of the well will be that all well equipment, including the well pressure pumps, etc. must be located in an outside structure and not within the residence. There can be no cross connections between the public water system and the well system. Upon receiving approval from the Authority to utilize the existing well for said limited purposes, the well design and connection will be inspected by the Authority to ensure compliance at the owner's cost. If engineering fees are required to review the schematics and inspect the premises, the owner will be required for the engineering fees as well. The Authority and/or its authorized representative shall have the right to enter upon any property after

lateral connection to the public water system has been made to inspect for the existence of a prohibitive inter-connection. For purposes of this paragraph no well water piping shall in any way enter an occupied property. The right to use water from a well for the limited purposes set forth in this section shall not be abridged by any other rule or regulation of the Authority.**

# **Section 11.03 was added September 10, 2007 and amended on December 12, 2022.

SECTION 12 WATER SUPPLY

  - The Authority cannot guarantee the volume and/or pressure of water available from its system; and shall not be liable for a deficiency or failure in the supply for any reason. It is the duty of the Owner to protect his plumbing system and property from damage in the event water supply is reduced or shut off.

  - The Authority has the right to reserve a sufficient supply of water at all times to provide for public health, fire protection and other emergencies. In the event of any accident or damage to any part of its works or equipment or breakdown of machinery, or bursting of any Water Main, or any other occurrence affecting its plant or equipment or operation; the Authority shall not be liable to any person for any claim or damage arising from an interruption of service, inadequate supply or pressure, quality of water, or any cause beyond its control.

  - The Authority shall prohibit the use of hoses for street, lawn or garden sprinkling, or for any other purpose when, in its judgment, such action is necessary for the preservation of the water supply. In such event, due notice shall be given by publication in at least one newspaper of local circulation. Should any consumer fail to comply with the requirements of the notice, water service to that consumer shall be terminated and service shall not be restored until all costs of terminating and initiating the water have been paid.

  - If at any time the total water supply shall be insufficient to meet all of the needs of all the users for domestic, commercial, and industrial purposes, the Authority must first satisfy all the consumers for domestic purposes before supplying any water for any other purposes or uses.

SECTION 13	BILLING

  - Failure to receive a bill from the Authority shall not exempt the User from his responsibility to make prompt payment. The presentation of a bill to the User is only a matter of accommodation.

  - Whenever ownership of a Building is transferred, the new Owner must notify the Authority in writing for the continuation of the service as provided for in Section 18. Failure to do so will result in the discontinuance of the water service.

  - The Owner of each Building is ultimately responsible for the payment of all water bills. All billings will be sent directly to the Owner, unless otherwise approved by the Authority.

  - Billings will be rendered on a monthly basis for all customers. Upon written request, a customer who is billed on a monthly basis may be switched to billing on a quarterly basis, if approved by the Authority.

SECTION 14	LATE PAYMENTS

  - Charges for water service shall be due upon receipt. Payments received after the twentieth (20th) day of the month in which the payment is due shall be subject to a penalty on the balance due as set forth in the current Schedule of Fees and Charges. Unpaid balances shall accrue simple interest per month as set forth in the current Schedule of Fees and Charges beginning on the thirtieth (30th) day of the month in which the payment is due, and the Authority shall have the right to cut off and discontinue water service from the delinquent premises and not to restore service until all delinquent bills and charges and the cost of cutting off and restoring service shall have been paid. All delinquent water service rentals, charges and all penalties shall be subject to a lien against the property in the Office of the Prothonotary of Bedford County and may be collected in a manner provided by law.**

  - In the case of a tenant, after 30 days the landlord will be notified of the delinquent account. After 60 days, the owner will be responsible for payment of all costs. Service may be discontinued at this time, and/or legal action shall be taken.

  - Payments mailed as evidenced by the United States Postal Service on or prior to the end of twenty (20) day period will be deemed as payment within the time period.

# **Section 14.01 was amended on June 2, 2008 and on December 12, 2022.

SECTION 15	DISCONTINUANCE OF SERVICE

  - Application for water service may be canceled or water service disconnected for any of the following reasons:

    - Failure of User to pay water bill and other charges when due.

    - Tampering with any meter, service line, curb stop or box or permitting tampering by others.

    - Use of water service by a User for any purpose other than described in the application.

    - Use of water service by a User at any location other than described in the application.

    - Waste of water by a User.

    - Vacancy of Building.

    - Failure of User to maintain service line in good order.

    - Refusal of access to property to authorized representatives of the Authority for the purpose of inspecting Owner's service line, piping and fixtures; as well as inspecting, reading, maintaining or removing meters.

    - Failure to comply with any water use restrictions which may be imposed from time to time.

    - Violation by User of any of the Rules and Regulations.

    - Pursuant to any other laws of the Commonwealth of Pennsylvania.

  - Any damage to the service line and/or Water Mains caused by careless undermining or by negligent excavating or backfilling of excavation for private drains, sewers, or other purpose shall be chargeable to the person causing damage, and if the charge to repair is not paid within ten (10) days, the Authority reserves the right to discontinue water service.*

# * Section 15.02 was amended on August 3, 2009.

  - The Authority shall have the right to interrupt water service without notice in case of breakdowns or for other unavoidable causes, or for the purpose of making necessary repair or connections. Reasonable notice will be given when practicable. In no case shall the Authority be liable for any damage or inconvenience suffered.

  - In event any water or wastewater service charge or total of such charges and surcharges shall remain unpaid for a period of longer than sixty (60) days from the billing date, the Authority may terminate and discontinue water service to the Owner to which the water and wastewater service have been rendered. Upon such termination of service, the Authority shall impose a discontinuation charge. A service initiation will be charged when service is restored.

  - When two or more buildings are supplied through a single water service, any violation of the Rules and Regulations of the Authority by any one Owner shall be deemed a violation by all, and the Authority may enforce compliance with this rule by shutting off the entire service, except that action shall not be taken until the non-violating Owner(s) has been given a reasonable notice and opportunity to install separate connection.

  - Disconnection of Service Due to Demolition of Building

    - Any person desiring to demolish, or otherwise permanently remove a building from a property served by municipal water or otherwise permanently disconnect a building from a property served by municipal water must apply to the Authority for permanent disconnection of service.

    - Written notice of approval of the proposed disconnection will be made by the Authority to the applicant within seven (7) days following a regularly scheduled Authority meeting.

    - For disconnection of water service, the property owner shall physically remove all service connection piping from the building served to the property line or edge of right of way if the Authority in its sole discretion deems it necessary. The Authority's curb stop shall be closed by the Authority, and the corporation stop shall be closed by the Authority at the water main. The property owner shall restore the ground surface to its original condition following piping removal and closing of the corporation stop. All activities shall be witnessed by the Authority or their representative before being covered. Contractors shall provide current liability insurance certificate prior to excavating. This work that is deemed necessary by the Authority shall be completed at the Owner's expense.*

# *Section 15.06C was amended on August 3, 2009.

    - Reasonable and customary fees may be charged by the Authority to cover Authority expenses incurred for application processing and disconnection inspection services.

SECTION 16	CHANGING RULES, REGULATIONS AND RATES

  - The Authority reserves the right to change or amend from time to time these Rules, Regulations and Rates for Water service, in a manner provided by law.

  - Public notice shall be given prior to adoption of any amendments of these Rules and Regulations.

SECTION 17	CHARGES PAYABLE UPON CONNECTIONS AND MISCELLANEOUS CHARGES

  - Upon making application for the issuance of a permit to connect a new Building or to connect an additional use, the Authority will prepare a written estimate of the cost of Authority construction for the installation, connection charge, the tapping fee, the permit fee and the inspection fee.*

  - A tapping charge payable to the Authority for the purchase of capacity facilities and distribution/collection system facilities shall be due at the time of connection.  Calculation of this tapping fee shall be the number of EDU’s times the ‘per EDU’ amount specified in the current Schedule of Fees and Charges. However, for buildings that have a history of metered flows, the average daily usage for the preceding twelve (12) months will be divided by 150 gallons per day per EDU to determine the number of EDU’s.  In cases where no previous metered usage is available, the classification provided in Section 17.07 shall be used to calculate EDU’s.*

  - For a Service Line other than the above, a customer facilities fee in an amount equal to the actual cost of engineering review and inspection work performed by the Authority will be charged to the Owner. The customer facilities fee shall be estimated as  directed by the current Schedule of Fees and Charges, and deposited with the Authority at the time of application.  Upon making application for the issuance of a permit for Connection, the Authority will prepare a written estimate of the cost of engineering review and inspection, if requested.*

  - For a Service Line other than the above, a connection fee in an amount equal to the actual cost of providing a connection to serve the customer will be charged to the Owner (based upon the actual cost of the connection of the property extending from the main to the property line or curb stop of the property connected). The minimum connection fee shall be as provided in the current Schedule of Fees and Charges.  Upon taking application for the issuance of a permit for connection, the Authority will prepare a written estimate of the cost of the fee, if requested.*

  - The Person desiring water service shall furnish and install the Building Service Line at his sole cost.

  - The actual building and connection to the water system must be made within one year of the payment of the charges and fees specified under this Section. If requested prior to the actual connections being made to the water main, the Authority will refund the fees and charges less an administrative fee as set forth in the current Schedule of Fees and Charges. After one year, a new application must be made with appropriate fees and charges paid to the Authority.*

  - In cases where previous metering records are not available, the number of EDU's constituting each type of Building for purpose of calculating the connection charges shall be determined as follows:

# *The current Schedule of Fees and Charges was adopted February 4, 2008 and amended on February 7, 2011 and December 12, 2022.  Section 17.02 was amended on February 7, 2011.  Sections 17.02, 17.03, 17.04, and 17.06 also were amended on December 12, 2022.

Classification	No. of EDUs

    - Single Family Dwelling	1

    - Two Family Dwelling	2

    - Apartment House:

      - One or two bedroom apartment*	1

    - Mobile Home	1

    - Each Retail Store:

      - Ten (10) or less employees	1

      - Each additional five (5) employees over ten (10) or

fraction thereof*	½

    - Each business, industry or professional office:

      - Ten (10) or less employees	1

      - Each additional five (5) employees over ten (10) or

fraction thereof*	½

    - Business, industry, retail store or professional office providing showers for employees:

      - Ten (10) or less employees	1

      - Each additional five (5) employees over ten (10) or

fraction thereof*	½

    - Each improved property having a commercial (1 horsepower

or greater) garbage grinder, for such grinder*	1

    - Hotel or Motel (in addition to restaurant facilities) per rental room	2

    - Restaurant, club or tavern, per twenty (20) seats

or fraction thereof	1

# * Sections 17.07.3, 17.07.5, 17.07.6, 17.07.7 and 17. 07.8 were amended on August 3, 2009.

    - Church	1

    - Service Station or automobile repair garage:

      - Three (3) bays or less (without car wash facilities)	1

      - Three (3) bays or less (with car wash facilities)	2

      - Each additional bay over 3	2

    - School, per 22 pupils or operating personnel	1

    - Laundromat, per five (5) washers or fraction thereof	1

    - a. Car washing establishment, per bay (using recycled water)	1

b. Car washing establishment, per bay (not using recycled water)	2

    - Bowling Alley (in addition to restaurant facilities) per six (6) lanes or fraction thereof

    - Each barber shop or beauty shop whether or not attached to or part of owner's residence:

      - For the first two (2) chairs

      - Each additional chair*

    - Deleted August 3, 2009.

    - Each retail food market or store in addition to EDU's established for employees:

      - For meat and/or vegetable preparation station

      - For a bakery

      - For a delicatessen*

1

1

1/4

1

1

1

    - Each business or professional office attached to or part of the principal dwelling of the businessman or professional individual:

      - With separate sanitary facilities	1

      - Without separate sanitary facilities**	½

# * Sections 17.07.17 and 17.07.19 were amended on August 3, 2009.

**Section 17 07.20 was added August 3, 2009.

17.08 The number of Equivalent Dwelling Units applicable to Commercial Establishments and Industrial Establishments shall be computed on the basis of the average daily number of full and part-time employees (including the owner(s) and employer(s) for the calendar quarter preceding the date of connection. The Owners of such facilities shall be responsible for advising the Authority in writing of the number of employees upon connection to the Water System and upon request of the Authority. The number of Equivalent Dwelling Units applicable to Schools shall be computed on the highest monthly average daily attendance of pupils (plus faculty, administrators and staff) during the twelve (12) months preceding the date connection. The Owners of such facilities shall be responsible for advising the Authority in writing of the number of pupils, faculty, administrators and staff in attendance as an average daily figure upon connection or upon request of the Authority.

17.09 Establishments that do not fall under any of the above classifications may be asked to provide water records from similar establishments or calculations to determine an EDU value for the establishment.

SECTION 18	MISCELLANEOUS CHARGES

  - Any Owner desiring a supply of water from a previously discontinued service and each new Owner of a Building already connected must submit with his Application for service a payment for reestablishing service as set forth in the current Schedule of Fees and Charges. No service shall be furnished by the Authority to an Owner until all arrears for water service, repairs, or other charges then incurred or previously owed with respect to the Building shall have been paid, or satisfactory arrangements for payment has been made.*

  - Any Owner, who has paid in full the Tapping/Capacity Fee, the Connection Fee and the Customer Facilities Fee and whose account is otherwise paid in full, desiring a temporary or permanent discontinuance of service shall notify the Authority in writing of this desire along with a payment for terminating service as set forth in the current Schedule of Fees and Charges. The Authority, upon terminating service, shall make a final Meter reading and the final bill shall be due and payable within ten (10) days of termination of service.**

  - Any Owner desiring to transfer ownership of property and water service shall notify the Authority in writing of this desire and a final Meter reading and bill will be prepared at no charge to the Owner. The bill shall be due and payable within ten (10) days of transfer.

  - If requested in writing by Owner, the Authority will conduct a test of the accuracy the Meter supplying his Building. A deposit shall accompany the request as set forth in the current Schedule of Fees and Charges. The Authority shall record the actual labor and other expense involved. A minimum of two hours labor will be charged. If the Meter is found to be registering more than AWWA specifications allow, the Owner will not be billed, and his deposit will be returned. If the Meter is within standards, the Owner will be billed for testing. The unused portion of the deposit will be refunded.***

  - The charge for the reinstallation or changing of a Meter when removed due to damage in any way due to the negligence of the Owner shall be equal to the cost of repair or replacement of the damaged Meter.

  - Repealed on December 12, 2022.

*Section 18.01 was amended on March 3, 2008 and on December 12, 2022.

**Section 18.02 was amended on March 3, 2008 and on December 12, 2022.

***Section 18.04 was amended on August 3, 2009 and on December 12, 2022.

  - The Authority will provide water from a fire hydrant at no charge for uses it defines as charitable. Water so used, including the routine filling of fire company equipment, will be at times and locations approved by the Authority.

SECTION 19	SCHEDULE OF RATES AND CHARGES

  - Rates for water service for single family dwellings, individual units in Multiple Dwelling Units, and individual uses in Multiple Use Units are based upon metered water consumption. The quarterly charge for Water service shall be as follows:**

METERED CONSUMPTION	RATE

Up to 2,000 gallons per month

Each 1,000 gallons in excess of 2,000 gallons per month

$amount per month*

$amount per 1,000 gallons*

*These amounts are set forth as set forth in the current Schedule of Fees and Charges.

  - The minimum monthly charge for Water service is a charge per month per EDU as set forth in the current Schedule of Fees and Charges.**

  - The minimum monthly charge applies to each metered unit. The minimum monthly charge applies to each mobile home in a mobile home park. Each mobile home unit is required to be metered, unless otherwise approved by the Authority.

  - Where an apartment or other Multiple Dwelling Unit receives water service through a single meter under contract with a single Owner; the minimum monthly charge for water service shall apply to each unit.

  - Where a non-residential or Multiple Use Unit receives water service through a single meter under contract with a single Owner; the minimum monthly charge for water service shall apply to each use. Each use shall pay the greater of 1) the minimum charge plus the charge for excess metered consumption or 2) a multiple of the minimum charge calculated by dividing the estimated water usage by the 150 GPO estimate specified for single family dwellings.

  - Returned Check Charge

A charge will be assessed to the customer any time where a check which has been presented to the Authority for payment on account has been returned by the payor bank for any reason.  The charge shall be double the amount billed to the Authority by the payor bank.**

  - Service Fees

Service fees, consisting of hourly rates payable to the Authority for visits and work

performed on customer’s water lines, shall be charged to and be the responsibility of the property owner in the amounts set forth in the current Schedule of Fees and Charges. **

  - Normal Business Hours

Open Monday through Friday

Service Hours B 7:00 a.m. to 3:30 p.m. Office Hours B 10:00 a.m. to 1:00 p.m.

**Sections  19.01, 19.02, 19.06, and 19.07  were amended on December 12, 2022.

SECTION 20 REPEALER

  - In the event any provision, section, sentence, clause or part of the Rates, Rules, and Regulations shall be held by any Court or Administrative tribunal of competent jurisdiction to be invalid, such invalidity shall not affect or impair any remaining provision, section, sentence, clause or part of this Resolution, it being the intent of the Authority that such remainder shall be and shall remain in full force and effect.

  - All parts of these Rates, Rules, and Regulations which are inconsistent herewith expressly shall be and are repealed.

  - The Rates, Rules, and Regulations shall supersede any previously adopted Rules and Regulations of the Authority.

SECTION 21 WATER CONSERVATION CONTINGENCY PLAN

  - Restriction of Nonessential Uses: If the Authority is projecting a supply shortage, the Authority may request voluntary conservation by both residential and nonresidential customers and may impose mandatory conservation measures to reduce or eliminate nonessential uses of water. Nonessential uses of water include, at a minimum, the following:

    - Watering of lawns, gardens, landscape areas, trees, shrubs or other outdoor vegetation except with a hand-held hose equipped with an automatic shut-off nozzle.

    - Non-commercial washing of vehicles or other equipment except with hand-held hose equipped with an automatic shut-off nozzle.

    - Washing streets, driveways, parking lots, tennis courts, commercial and residential building exteriors, sidewalks, patios or other outdoor surfaces.

    - Ornamental water uses, including fountains, artificial waterfalls, reflecting pools and the like.

    - Filling or topping-off swimming or wading pools except for public or private pools serving 25 of more dwelling units and health care facility pools used for patient care or rehabilitation.

    - The operation of water-cooled comfort air conditioning not equipped with a cooling tower or other evaporative system.

    - Flushing wastewater lines or manholes.

    - Irrigation at commercial farms and nurseries other than as minimally necessary to preserve livestock, crops and plants.

      - The use of water from fire hydrants for construction purposes or fire drills.

  - Implementation of Voluntary Restrictions: Prior to implementation of mandatory restrictions, the Authority shall first request voluntary customer conservation. Notice of voluntary conservation restrictions shall be sent to all customers or be provided by local radio, television or newspaper advertisements within the Authority's service territory.

ADOPTED as amended by the Board of Directors of the Snake Spring Township Municipal Authority in lawful session assembled this ____ day of December, 2022.

SNAKE SPRING TOWNSHIP

MUNICIPAL AUTHORITY

By________________________________

Chairperson

__________________________________

Secretary

ATTEST:

______________________________